# Feeder Reliability Summary — feeder-009-0212

Reliability summary for feeder feeder-009-0212, a 25.0 kV distribution circuit rated 738 A, served from substation sub-ericmouth-009 in the Southwest region. Current feeder status: energized.

Customer base: this feeder serves 2 metered service points — 1 commercial, 1 industrial. Only active and inactive meters count toward customers-affected figures in reliability reporting; disconnected services are excluded.

Outage history over the trailing twelve months: 2 recorded events (P1: 1, P4: 1). Average restoration time was 414 minutes across 2 restored events, for a total of approximately 2,005,546 customer-minutes of interruption on this feeder.

Cause breakdown: overload — 1 event(s); vehicle accident — 1 event(s). No single failure mode dominates this feeder's outage history.