# Feeder Reliability Summary — feeder-044-0338

Reliability summary for feeder feeder-044-0338, a 13.2 kV distribution circuit rated 883 A, served from substation sub-northjessicaland-044 in the Southeast region. Current feeder status: energized.

Customer base: this feeder serves 2 metered service points — 1 commercial, 1 residential. Only active and inactive meters count toward customers-affected figures in reliability reporting; disconnected services are excluded.

Outage history over the trailing twelve months: 5 recorded events (P2: 1, P3: 2, P4: 2). Average restoration time was 159 minutes across 5 restored events, for a total of approximately 1,458,609 customer-minutes of interruption on this feeder.

Cause breakdown: vehicle accident — 2 event(s); storm damage — 1 event(s); equipment failure — 1 event(s); planned maintenance — 1 event(s). No single failure mode dominates this feeder's outage history.