# Outage Post-Mortem Report — Outage #206

Outage #206 was recorded on feeder feeder-040-0252 (served from substation sub-newstephanie-040, Southwest region) beginning 2026-08-14 at 17:39 UTC. The event was classified severity P1 and affected approximately 1673 customers. Reported cause: animal contact.

As of this report, outage #206 remains open with no restoration timestamp recorded. Restoration status should be confirmed with the control center.

Root cause summary: Animal contact on Stacey Fords feeder segment; restored via automatic reclose.

Corrective actions: the affected line section is scheduled for a follow-up patrol to confirm no residual damage remains.