# Outage Post-Mortem Report — Outage #311

Outage #311 was recorded on feeder feeder-029-0027 (served from substation sub-coxberg-029, Southwest region) beginning 2026-04-23 at 01:11 UTC. The event was classified severity P2 and affected approximately 3425 customers. Reported cause: vehicle accident.

As of this report, outage #311 remains open with no restoration timestamp recorded. Restoration status should be confirmed with the control center.

Root cause summary: Vehicle accident on Brock Mountain feeder segment; restored via automatic reclose.

Corrective actions: fault indicator placement along this feeder is being reviewed to reduce future patrol time.