# Outage Post-Mortem Report — Outage #359

Outage #359 was recorded on feeder feeder-017-0080 (served from substation sub-ramirezstad-017, Pacific region) beginning 2026-01-25 at 05:33 UTC. The event was classified severity P1 and affected approximately 90 customers. Reported cause: vegetation contact.

Service was restored at 2026-01-25 07:03 UTC, giving a total restoration time of 90 minutes. This is within the P1 target restoration window.

Crew response: Crew Golf was dispatched at 2025-11-12 23:04 UTC with a recorded response time of 102 minutes to on-site arrival. Response time is logged for trending against severity targets.

Root cause summary: Vegetation contact on Cameron Harbor feeder segment; restored via manual crew switching.

Corrective actions: this feeder has been added to the worst-performing-feeder watch list for the current reporting year.