# Outage Post-Mortem Report — Outage #426

Outage #426 was recorded on feeder feeder-004-0456 (served from substation sub-eastjessetown-004, Southeast region) beginning 2026-01-31 at 13:08 UTC. The event was classified severity P1 and affected approximately 2886 customers. Reported cause: vehicle accident.

Service was restored at 2026-01-31 20:19 UTC, giving a total restoration time of 431 minutes. This exceeded the P1 target restoration window and was flagged for reliability review.

Root cause summary: Vehicle accident on Lin Road feeder segment; restored via manual crew switching.

Corrective actions: no corrective action beyond standard repair was identified; the event is considered closed.