# Outage Post-Mortem Report — Outage #440

Outage #440 was recorded on feeder feeder-035-0039 (served from substation sub-danielchester-035, Northeast region) beginning 2026-05-27 at 05:41 UTC. The event was classified severity P2 and affected approximately 3775 customers. Reported cause: planned maintenance.

Service was restored at 2026-05-27 06:59 UTC, giving a total restoration time of 78 minutes. This is within the P2 target restoration window.

Root cause summary: Planned maintenance on Benjamin Station feeder segment; restored via automatic reclose.

Corrective actions: the affected line section is scheduled for a follow-up patrol to confirm no residual damage remains.