# Outage Post-Mortem Report — Outage #488

Outage #488 was recorded on feeder feeder-023-0326 (served from substation sub-eastlydiamouth-023, Midwest region) beginning 2025-11-07 at 23:37 UTC. The event was classified severity P1 and affected approximately 4191 customers. Reported cause: storm damage.

Service was restored at 2025-11-08 01:12 UTC, giving a total restoration time of 95 minutes. This is within the P1 target restoration window.

Crew response: Crew Delta was dispatched at 2026-08-25 04:12 UTC with a recorded response time of 12 minutes to on-site arrival. Response time met the P1 target of 45 minutes for normal weather conditions.

Root cause summary: Storm damage on Ana Stream feeder segment; restored via manual crew switching.

Corrective actions: this feeder has been added to the worst-performing-feeder watch list for the current reporting year.